## result
ExternID | Ordernr | Afnamedatum_tijd | Confirmatiedatum_tijd | Basofiele granulocyten | Basofiele granulocyten (absoluut) | Eosinofiele granulocyten | Eosinofiele granulocyten (absoluut) | Erytrocyten | Hemoglobine | Hematocriet | Leukocyten | Lymfocyten | Lymfocyten (Absoluut) | MCH | MCHC | MCV | Monocyten | Monocyten (absoluut) | Mean platelets volume | Normoblasten (absoluut) | Neutrofiele segmentkernige granulocyten | Neutrofiel segm.granulocyten (absoluut) | Red Cell Distribution Width (RDW) | Ret-He | Reticulocyten | Reticulocyten (absoluut) | Trombocyten | Hemoglobine A1C | Kalium | Natrium | ALAT | Albumine | Calcium | CK | CRP | Gamma GT | Kreatinine | Fosfaat | Vitamine B12 | Ferritine | Thyroxine vrij (FT4) (direct) | Thyroid Stimulerend Hormoon (TSH) | Immature platelet fraction
222203 | 949261113210 | 12-03-2026 14:35 | 12/03/2026 17:35 | 0.4% | 0.03 10**09/l | 1.9% | 0.14 10**09/l | 4.40 10**12/l | 8.0 mmol/l | 0.393 l/l | 7.47 10**09/l | 22.5% | 1.68 10**09/l | 1.818 fmol | 20.4 mmol/l | 89.3 fl | 5.5% | 0.41 10**09/l | 10.7 fl | 0.00 10**09/l | 69.7% | 5.21 10**09/l | 12.4% | 2.122 fmol | 10.0 promille | 44.0 10**09/l | 250 10**09/l | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2.1%
222203 | 949261113210 | 12-03-2026 14:35 | 12/03/2026 17:45 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 32 mmol/mol | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
222203 | 949261113210 | 12-03-2026 14:35 | 12/03/2026 18:05 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 3.44 mmol/l | 140.2 mmol/l | - | - | - | - | - | - | - | - | - | - | - | - | -
222203 | 949261113210 | 12-03-2026 14:35 | 12/03/2026 18:12 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 42.40 g/l | 2.270 mmol/l | - | 0.9 mg/l | - | 58.6 umol/l | 1.06 mmol/l | - | - | - | - | -
222203 | 949261113210 | 12-03-2026 14:35 | 12/03/2026 18:13 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 14 U/l | - | - | 74 U/l | - | 15.7 U/l | - | - | - | - | - | - | -
222203 | 949261113210 | 12-03-2026 14:35 | 12/03/2026 18:18 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 68.80 ug/l | - | - | -
222203 | 949261113210 | 12-03-2026 14:35 | 12/03/2026 18:20 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 14.10 pmol/l | 1.81 mE/l | -
222203 | 949261113210 | 12-03-2026 14:35 | 12/03/2026 18:26 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 986.00 pmol/l | - | - | - | -

## compare
RDL | Decision | Remarks Physician | CDL
Basofiele granulocyten | Ignore, % is not used | ok
Basofiele granulocyten (absoluut) | Successfully mapped | ok | #Basofielen
Eosinofiele granulocyten | Ignore, % is not used | ok
Eosinofiele granulocyten (absoluut) | Successfully mapped | ok | #Eosinofielen
Erytrocyten | New | Ignore is not used
Hemoglobine | Successfully mapped | ok | Hemoglobine
Hematocriet | Successfully mapped | ok | Hematocriet
Leukocyten | Successfully mapped | ok | Leukocyten
Lymfocyten | Ignore, % is not used | Ignore is not used
Lymfocyten (Absoluut) | Successfully mapped | ok | #Lymfocyten
MCH | New | Ignore, is not used
MCHC | New | Ignore, is not used
MCV | Successfully mapped | ok | MCV
Monocyten | Ignore, % is not used | ok
Monocyten (absoluut) | Successfully mapped | ok | #Monocyten
Mean platelets volume | New
Normoblasten (absoluut) | New
Neutrofiele segmentkernige granulocyten | New
Neutrofiel segm.granulocyten (absoluut) | ? #Neutrofielen? | Can be mapped with #Neutrofielen
Red Cell Distribution Width (RDW) | New | Ignore, is not used
Ret-He | New | Ignore, is not used
Reticulocyten | Ignore, % is not used | ok
Reticulocyten (absoluut) | New | Ignore, is not used
Trombocyten, ref range 150-450. Alarm<= 50 or >450 | New | Can not be ignored because severe thrombopenia<50 can be life treatening. Thrombocytosis >450 can be a symptom of a severe disease
Hemoglobine A1C | Successfully mapped | ok | Hb-A1-c IFCC
Kalium | Successfully mapped | ok | Kalium
Natrium | Successfully mapped | ok | Natrium
ALAT | Successfully mapped | ok | ALAT(SGPT)
Albumine | Successfully mapped | ok | Albumine
Calcium | Successfully mapped | ok | Calcium
CK | Successfully mapped | ok | CPK
CRP | Successfully mapped | ok | CRP
Gamma GT | Successfully mapped | ok | Gamma-GT
Kreatinine | Successfully mapped | ok | Kreatinine
Fosfaat | Successfully mapped | ok | Fosfaat
Vitamine B12 | Successfully mapped | ok | Vitamine B12
Ferritine | Successfully mapped | ok | Ferritine
Thyroxine vrij (FT4) (direct) | Successfully mapped | ok | Free T4
Thyroid Stimulerend Hormoon (TSH) | Successfully mapped | ok | TSH
Immature platelet fraction (%) | New | Ignore, is not used
| Only in CDL (as RDL do not get age and sex) | As decided before | ? eGFR (CKD-EPI)
| Only in CDL (the sum of all Leucocyten) | As decided before | ? Leukodiff
| Only in CDL? | As decided before | ? #Immature Granulocyten
Thrombocytes: Alert if <150 or >450. Alarm if <50